## Slide 1: Town of Mesilla Fire Protection Plan
Prepared by: Fire Chief Gregory E. Whited
Mesilla Fire Rescue

## Slide 2: Purpose of This Presentation
Overview
- Overview of fire protection
Identify
- Identify capabilities and gaps
Outline
- Outline improvements
Reinforce
- Reinforce safety commitment

## Slide 3: Communication and Responsibility
- Fire protection systems are complex
- Not all components are visible day-to-day
- Responsibility includes clear communication
- Commitment to improved transparency
Notes: “I want to take a moment to address something directly.”
“Fire protection is a complex system, and not all parts of that system are visible unless you’re working in it every day.”
“As the Fire Chief, it’s my responsibility not just to manage that system, but to make sure it’s clearly understood.”
Short pause
“If there is any confusion about hydrants, equipment, or how we operate, then I need to do a better job communicating that.”
“That’s part of the reason for this presentation today, to make sure there is a clear, shared understanding of where we are, what we’ve improved, and what we’re continuing to work on.”

## Slide 4: Mission
- Life safety first
- Incident stabilization
- Property conservation
  Historic conservation
- Regional support
Mission of the Mesilla Fire Department
Deliver reliable, professional emergency services to Mesilla and our neighboring communities through readiness, prevention, rapid response, and solid support after the incident.

## Slide 5: Department Response Overview

## Slide 6: Department Overview
- Combination staffing
- Increasing call volume
- EMS expansion
- Regional response
Insurance Service Organization
  - Grades Fire Departments on a 1 to 10 scale
    1 is the best, 10 means no fire protection
  - ISO score affects NM State Fire Funding and your fire insurance rates
  - Mesilla Fire is an ISO 4

## Slide 7: Fire Response Evolution (Then vs Now)
Category | 50 years ago | 4 years ago | Today (Auto aid)
Staffing model | 100% volunteer | Primarily volunteer | Combination
Response start | From home/work (in town) | From home/work (from mostly out of town) | On-duty + regional units + volunteers
Daytime coverage | Limited | Limited | Significantly improved
Dispatch model | Local only | Local + delayed mutual aid | Closest units
First unit arrival | Variable often delayed | Often delayed | Faster/consistent
Initial Staffing | Minimal | Limited | Multiple units on initial dispatch
Fireground support | Built slowly | Delayed | Immediate
Reliability | Dependent on availability | Inconsistent | Predictable and dependable

## Slide 8: Response Model – 50 Years Ago

## Slide 9: Response model prior to Auto Aid
Fires, CPR’s, only Mesilla and South Valley were paged.
Ex. A fire at a large restaurant in town, Mesilla and South Valley unavailable, and only one DAFR unit responded from NMSU

## Slide 10: Automatic Aid
- Closest unit response
- Eliminates delays
- Improves safety
- Regional coordination

## Slide 11: Expected response NOW
Multiple agencies respond automatically
6 engines, 1 truck, 2 rescues, 3 Battalion Chiefs- minimum
Adequate and safe staffing on arrival at scene

## Slide 12: The Modern Fire Environment
Faster fire growth
More smoke= less visibility, more toxicity
Higher temperatures
This environment requires modern training, equipment, and tactics
  Lack of these will endanger the responders and public
    Firefighters and public have been killed by using old methods
    Creates liability

## Slide 13: Why these minutes matter
Notes: This is a room and contents fire. You’ll hear that term come up later
This is what has changed firefighting so much from 50 years ago

## Slide 14: Water Supply

## Slide 15: Mesilla Hydrant system

## Slide 16: Hydrant Overview
171 Hydrants in Mesilla Owned by ToM
10 more owned by CLC
Hydrant repairs and maintenance- responsibility of Mesilla Public Works
Hydrant testing and maintenance performed by Mesilla Fire
Notes: “Fire hydrants are part of a larger water supply system, and like any infrastructure, they require ongoing maintenance and periodic replacement. It is standard in every community that some hydrants will be temporarily out of service at any given time due to repairs, damage, or age.”
Pause. Let that land.
“Those conditions are tracked, prioritized, and addressed as part of normal operations. This is not unique to Mesilla, it is how municipal water systems function nationwide.”

## Slide 17: Hydrant Status
- Prior to 2018 hydrants were not being tested or inspected
The Fire Department had no idea until we used one if it would work.
- 2022 there were 45 Out Of Service
- Now 13 remaining OOS
- Replacement project ongoing
The black bags indicate OOS=transparency and preparedness=tracked and mapped
Data from Mesilla Fire inspections and testing.
Monthly inspections found OoS hydrants
Notes: “To put our situation in context, there was a point in the past where we had 45 hydrants out of service. Today, that number has been reduced to approximately 13.”
Short pause
“That represents measurable progress, not neglect.”
“Those remaining hydrants are already identified and are part of an ongoing replacement plan. This is a phased infrastructure issue, not a sudden or unmanaged problem.”
If pushed or challenged (keep it tight):
“We are actively improving the system, and the numbers reflect that.”

## Slide 18: Water Supply and firefighting
- Onboard water of 1000 gallons- Hydrants are supplemental
- Now, multiple apparatus with water are responding
- Rural operations
Include long relay operations from other hydrants
Tender/shuttle operations
Mesilla has a drop tank now!
Notes: UL studies - a room and contents fire takes about 500 gallons
  Another reason to respond fast to keep it to room and contents (remember the video)

## Slide 19: Water Supply
Notes: Room fire, no hydrant connection

## Slide 20: Water Supply
Notes: Drop tank or tender shuttle operations

## Slide 21: Self Contained Breathing Apparatus (SCBA)

## Slide 22: SCBA Overview
- Critical life safety equipment
- Requires replacement cycles (10 years)
- Not fully state funded
Notes: “Self-contained breathing apparatus, or SCBA, is one of the most critical pieces of life safety equipment we provide to firefighters.”
It’s what separates a firefighter from a bystander
“Like all safety equipment, it has a defined service life and must be replaced on a regular cycle.”
State Fire grant was submitted on time, but funding ran out before they got to us. Federal is not considering replacing packs until 20 years old, despite mandates.

## Slide 23: SCBA Plan
Historically we have had 18 packs total (not one per responding seat)
14 still in service now
We take packs off of the truck to train
8 older style packs donated by LCFD to be placed in service once tested
Slows response time if an incident happens during training

## Slide 24: SCBA Plan
- Goals = One airpack for every seat + training/spares = about 40 packs
- 24 new airpacks minimum (1 per seat)
Notes: Meets Auto Aid requirement
We are going to be in a better place than we ever have been.

## Slide 25: SCBA Plan
- Phased replacement
We have 17 new ones on hand now (still waiting on bottles and masks)
Will purchase 3 or 4 every year
Instead of all at once
No expensive complete replacement
- County support
8 more being donated- will put us at 25, then they can go on the trucks
- Safety prioritized
Notes: “SCBA equipment is not fully funded through state programs. Departments are responsible for managing replacement through a combination of local funding, grants, and partnerships.”
“In our case, we have implemented a phased replacement plan to ensure continuity of operations while maintaining fiscal responsibility.”
“We have also leveraged support from the county to assist with this effort.”
“This is a planned, managed upgrade process focused on firefighter safety. It is not an unaddressed issue.”

## Slide 26: Firefighter Safety

## Slide 27: Firefighter Safety
- Ongoing training
  Meeting certification requirements instead of only local training.
    Improves operations
    Improves safety
    Improves ISO score
- Equipment upgrades
  Replacing airpacks, hose, tools, and firefighting gear to meet modern requirements

## Slide 28: Firefighter Safety
- SOPs in place
  Updated SOP/SOGs that work with our aid partners and meet current standards
- Risk management
  Continued reassessment
  Annual physicals
    We have never had them at Mesilla before
    Required for cancer diagnoses

## Slide 29: The State of Volunteer Firefighters

## Slide 30: National Context-Volunteers
- Decline in volunteers nationally
- 1984 - 898,000 volunteer firefighters in the United States. 2023- 635,100.
30% drop in volunteers, while the population grew 45%
- Increasing standards
    Training, certification standards
- Realities of two-income families with long commutes
- Nationwide shift to paid/ combination staffing
Increasing call volume (tripled nationwide) due to All Hazards Model

## Slide 31: From FIREHOUSE.com
“If a system requires members to work full-time jobs, commute farther, raise families amid rising costs, complete growing amounts of training, respond to more non-fire incidents, absorb more compliance burdens, and still behave as though they live in a small, 19th Century town, then the problem is not that the next generation lacks character. The problem is that the institution has become badly mismatched to the world it inhabits.”

## Slide 32: Volunteer Reality
- Increased training (160 hrs to meet basic training just to be a firefighter)
ISO 1 FF=244 annual hours
- Higher time demands
- Most certifications happen at NMFTA in Socorro
- Recruitment challenges- Distance to station
Volunteers move on when they get jobs
Small local recruitment pool as many cannot meet the standards to be a volunteer firefighter
People don’t work in the towns they live in
Young people can’t afford to live in Mesilla

## Slide 33: Volunteer Reality-cont.
- Modern fuels = higher cancer rates
Firefighters - 9% higher risk of cancer - 14% higher risk of dying from cancer
- NM does not cover Volunteers for cancer diagnoses
52-3-32.1. FIREFIGHTER OCCUPATIONAL CONDITIONS.
A. As used in this section, “firefighter” means a person who is employed as a full-time non-volunteer firefighter by the state or a local government entity and who has taken the oath prescribed for firefighters.

## Slide 34
Higher call volume= higher stress= increased cardiac stress
Firefighters - significantly higher rate of heart attacks, with approximately 45% of on-duty deaths attributed to cardiovascular events. This elevated risk is largely due to the intense physical demands and stress associated with firefighting.
FF Rafael Herrera III
February 14, 2003 – March 12, 2026
Cardiac event on duty

## Slide 35: Volunteer Reality-cont.
In Spite of these challenges, Mesilla Fire is the ONLY successful volunteer department in the region
Volunteers contribute more than 2000 hours per month to the department

## Slide 36: Mesilla Fire Department Challenges

## Slide 37: Current Mesilla Fire Challenges
Infrastructure
Station is poorly located/ too small
Modern apparatus won’t fit
Increased risk of accidents
Equipment
Purchasing equipment for volunteers who only stay a year or two until they get jobs as paid firefighters somewhere
Wear on vehicles/roads
Fitted firefighting gear is $3600 for coat and pants
Slowed response

## Slide 38: Current Mesilla Fire Challenges
Staffing
Lack of sufficient amount of people consistently on duty or available to respond
Demand
Increasing demand for service
Aging population
Dependency on 911

## Slide 39: Mesilla Fire Department Progress and Future

## Slide 40: Current Progress
- Automatic aid
Improves response times and resources to large incidents
- Staffing improvements
- 1 person on duty most of the time
- Highest level of certified firefighters and medical providers in our history
- The only successful volunteer department in the area

## Slide 41: Current Progress
- Continued 100% business inspection plan
Hydrant repairs/replacement is an ongoing project
- SCBA plan
Sourced and paid through Fire Fund Budget in tiered approach
Redundant water supply plans: Auto Aid, tender operations
Won’t have to source a Million Dollars in 10 years to replace them all at once
- Water supply Plan

## Slide 42: Future Focus
- Hydrants
More consistent testing and inspections
- SCBA
Tiered replacement plan
- Staffing
At least 2 personnel on duty at all times
- Training
Continued focus on certifications
- ISO
Improve from an ISO 4 to a 2

## Slide 43: Key Takeaways
- Systematic approach
Tracked, long range plan
- Measurable progress
Improvements in all categories
- Safety priority
Better volunteer engagement, training, equipment, standards, and procedures
- Forward movement
Future planning, cooperation, relationship building
County wide approach to emergency services

## Slide 44: Commitment to safety. Ours and yours. Fire Chief Greg Whited Gwhited@MesillaNM.gov, (915)241-3322 Questions?
Notes: “Fire protection is a system. Equipment, infrastructure, staffing, and response all work together, and all of those areas are being actively managed and improved.”
“I’m always available to provide additional detail or clarification, and I’ll continue to make sure the board has the information it needs to understand how the system is operating.”